## Reference
Suppporting Information
The Danish national effort to minimise methane emissions from biogas plants
Anders Michael Fredenslund1, Einar Gudmundsson2, Julie Maria Falk2 & Charlotte Scheutz1
1 Technical University of Denmark, DTU Sustain, Bygningstorvet, Building 115, 2800 Kongens Lyngby, Denmark
2 Rambøll, Hannemanns Allé 53, 2300 Copenhagen S, Denmark
Corresponding author
Anders Michael Fredenslund
Technical University of Denmark,
DTU Sustain,
Bygningstorvet, Building 115,
2800 Kongens Lyngby,
Denmark.
E-mail: amfr@env.dtu.dk.
Mobile: (+45) 51807774

## Data
Supplementary Information 1. Data file
Plant i.d. | Plant type | Plant size | Gas engine on-site | Gas upgrade at on-site | Determination of individual point sources | # point sources found, total | # point sources found, "small" | # point sources found, "medium" | # point sources found, "large" | Measurement of methane emission from point source(s) | Emission, gas engine | Emission, gas upgrade | Emission, process ventilation | Measurement of total methane emission | # Plume traverses | Total methane emission | Estimated measurement uncertainty | Gas production on date of measurement | Methane loss
|  |  | yes/no | yes/no | yes/no |  |  |  |  | yes/no | kg CH4 h-1 | kg CH4 h-1 | kg CH4 h-1 | yes/no |  | kg CH4 h-1 | kg CH4 h-1 | kg CH4 h-1 | %
1 | Agricultural | Large | no | yes | yes | 8 | 6 | 2 | 0 | yes |  | 0.31 |  | yes | 20 | 15.51 | 2.83 | 560 | 2.695%
2 | Agricultural | Large | no | yes | no |  |  |  |  | no |  |  |  | yes | 14 | 15.16 | 2 | 710 | 2.091%
3 | Agricultural | Large | no | no | yes | 10 | 2 | 2 | 6 | yes |  |  | 4 | yes | 14 | 14.68 | 2.5 | 351 | 4.014%
4 | Agricultural | Large | yes | yes | no |  |  |  |  | yes | 3.6 |  | 1.4 | yes | 16 | 12.58 | 1.68 | 1470 | 0.8485%
5 | Agricultural | Large | yes | yes | yes | 38 | 20 | 15 | 3 | yes |  | 0.4641 |  | yes | 20 | 55.47 | 10.14 | 607.9 | 8.362%
6 | Agricultural | Large | no | no | yes | 8 | 5 | 3 | 0 | no |  |  |  | yes | 13 | 7.26 | 1.32 | 300 | 2.363%
7 | Agricultural | Large | no | yes | yes | 26 | 10 | 15 | 1 | yes |  | 16.3362 |  | yes | 20 | 60.06 | 11.79 | 2583 | 2.272%
8 | Agricultural | Large | no | yes | yes | 11 | 10 | 1 | 0 | no |  |  |  | yes | 19 | 20.49 | 3.57 | 1933 | 1.049%
9 | Agricultural | Large | no | yes | yes | 22 | 9 | 9 | 4 | yes |  | 9.7176 | 13.3166 | yes | 13 | 14.58 | 2.35 | 1524 | 0.9476%
10 | Agricultural | Large | no | yes | yes | 16 | 5 | 10 | 1 | yes |  | 4.8331 |  | yes | 17 | 10.17 | 1.82 | 1202.8 | 0.8384%
11 | Agricultural | Large | no | yes | yes | 19 | 11 | 7 | 1 | yes |  | 10.5863 | 39.384 | yes | 14 | 20.16 | 2.46 | 1554 | 1.281%
12 | Agricultural | Large | no | yes | yes | 25 | 9 | 14 | 2 | yes |  | 6.6304 |  | yes | 20 | 22.99 | 3.87 | 1700.5 | 1.334%
13 | Agricultural | Large | no | yes | yes | 15 | 7 | 5 | 3 | yes |  | 8.0395 |  | yes | 17 | 15.36 | 2.71 | 742.9 | 2.026%
14 | Agricultural | Large | no | yes | yes | 5 | 4 | 1 | 0 | no |  |  |  | yes | 14 | 19.3 | 4.5 | 1087.9 | 1.743%
15 | Agricultural | Large | no | yes | yes | 20 | 12 | 4 | 4 | no |  |  |  | yes | 17 | 81.2 | 12.29 | 433 | 15.79%
16 | Agricultural | Large | no | no | no |  |  |  |  | yes |  | 0.22 |  | yes | 14 | 5.86 | 1.05 | 518.3 | 1.118%
17 | Agricultural | Large | yes | no | no |  |  |  |  | yes | 3.1 |  |  | yes | 15 | 3.2 | 0.33 | 356.16 | 0.8905%
18 | Agricultural | Medium | yes | no | yes | 14 | 8 | 3 | 3 | yes | 2.32 |  | 0.1 | yes | 20 | 7.89 | 1.34 | 144.3 | 5.184%
19 | Agricultural | Medium | no | yes | yes | 9 | 0 | 4 | 5 | yes |  | 0.4 |  | yes | 20 | 14.13 | 2.41 | 203 | 6.508%
20 | Agricultural | Medium | no | no | no |  |  |  |  | no |  |  |  | yes | 14 | 14.13 | 3.06 | 200.8 | 6.574%
21 | Agricultural | Small | yes | no | yes | 4 | 4 | 0 | 0 | no |  |  |  | yes | 15 | 10.67 | 1.98 | 55 | 16.25%
22 | Agricultural | Large | no | yes | no |  |  |  |  | no |  |  |  | yes | 17 | 18.28 | 4.37 | 776.79 | 2.299%
23 | Agricultural | Medium | yes | no | yes | 5 | 3 | 1 | 1 | no |  |  |  | yes | 11 | 9.25 | 1.59 | 186.6 | 4.723%
24 | Agricultural | Medium | yes | yes | yes | 5 | 5 | 0 | 0 | no |  |  |  | yes | 15 | 17.33 | 2.27 | 136 | 11.3%
25 | Agricultural | Medium | yes | no | yes | 10 | 9 | 0 | 1 | yes | 2.24 |  |  | yes | 11 | 4.02 | 0.5 | 94.3 | 4.089%
26 | Agricultural | Medium | yes | no | yes | 13 | 0 | 3 | 10 | yes | 0.42 |  |  | yes | 14 | 6.92 | 1.37 | 242.83 | 2.771%
27 | Agricultural | Medium | no | no | yes | 12 | 2 | 0 | 10 | no |  |  |  | yes | 18 | 8.63 | 1.78 | 203.78 | 4.063%
28 | Agricultural | Small | yes | no | yes | 12 | 6 | 5 | 1 | yes | 0.29471 |  |  | yes | 18 | 4.42 | 0.64 | 90 | 4.681%
29 | Agricultural | Small | yes | no | no |  |  |  |  | no |  |  |  | yes | 10 | 11.6 | 2.51 | 17 | 40.56%
30 | Agricultural | Medium | no | yes | yes | 20 | 8 | 11 | 1 | yes |  | 0.49 |  | yes | 12 | 9.46 | 1.82 | 673.58 | 1.385%
31 | Agricultural | Medium | yes | no | yes | 9 | 6 | 1 | 2 | yes | 0.74 |  |  | yes | 12 | 5.71 | 1.75 | 143.2 | 3.835%
32 | Agricultural | Small | yes | no | yes | 17 | 0 | 4 | 13 | yes | 0.58 |  |  | yes | 15 | 7.52 | 2.15 | 58 | 11.48%
33 | Agricultural | Small | yes | no | yes | 2 | 1 | 1 | 0 | no |  |  |  | yes | 15 | 2.3 | 1.5 | 70 | 3.181%
34 | Agricultural | Small | yes | no | yes | 19 | 9 | 6 | 4 | yes | 4.04 |  |  | yes | 20 | 4.22 | 1.24 | 71.6 | 5.566%
35 | Agricultural | Small | yes | no | yes | 3 | 0 | 2 | 1 | yes | 0.4 |  |  | yes | 16 | 10.22 | 3.03 | 56 | 15.43%
FM1 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 15 | 8.2 |  | 426 | 1.889%
FM2 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 16 | 6.1 |  | 2130 | 0.2856%
FM3 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 11 | 5.4 |  | 979.8 | 0.5481%
FM4 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 17 | 4.8 |  | 581 | 0.8194%
FM5 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 20 | 6.45 |  | 1469 | 0.4372%
FM6 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 19 | 13.1 |  | 865 | 1.492%
FM7 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 10 | 1.9 |  | 492 | 0.3847%
FM8 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 17 | 15.4 |  | 1534 | 0.9939%
FM9 | Agricultural | Large | no data | no data | no |  |  |  |  | no |  |  |  | yes | 25 | 11.4 |  | 429 | 2.589%
36 | Wastewater | Large | yes | no | yes | 1 | 0 | 0 | 1 | no |  |  |  | yes | 14 | 9.39 | 1.35 | 466.62 | 1.973%
37 | Wastewater | Large | no | no | no |  |  |  |  | no |  |  |  | yes | 14 | 14.52 | 1.9 | 445 | 3.16%
38 | Wastewater | Medium | yes | yes | yes | 14 | 7 | 4 | 3 | yes | 4.65 |  |  | yes | 19 | 9.25 | 1.59 | 216.6 | 4.096%
39 | Wastewater | Medium | yes | no | yes | 4 | 1 | 3 | 0 | yes | 3.146 |  |  | yes | 20 | 17.98 | 3.2 | 158.5 | 10.19%
40 | Wastewater | Medium | yes | no | yes | 2 | 0 | 0 | 2 | no |  |  |  | yes | 10 | 28.16 | 4.13 | 383 | 6.849%
41 | Wastewater | Medium | yes | no | yes | 10 | 2 | 5 | 3 | yes | 1.79 |  |  | yes | 18 | 3.58 | 0.64 | 107.22 | 3.231%
42 | Wastewater | Medium | yes | yes | yes | 2 | 2 | 0 | 0 | no |  |  |  | yes | 15 | 7.39 | 1.62 | 103.33 | 6.674%
43 | Wastewater | Medium | yes | no | yes | 11 | 6 | 5 | 0 | yes | 0.1 |  |  | yes | 17 | 4.98 | 0.72 | 56 | 8.167%
44 | Wastewater | Medium | yes | no | yes | 10 | 1 | 5 | 4 | yes | 1.5 |  |  | yes | 12 | 8.99 | 1.54 | 86.8 | 9.385%
45 | Wastewater | Small | yes | no | no |  |  |  |  | yes | 0.8 |  |  | yes | 11 | 1.6 | 0.4 | 14.0422 | 10.23%
46 | Wastewater | Small | no | no | yes | 3 | 2 | 0 | 1 | no |  |  |  | yes | 19 | 7.52 | 2.51 | no data
47 | Wastewater | Small | yes | no | yes | 6 | 0 | 3 | 3 | yes | 1.87 |  |  | yes | 19 | 5.87 | 0.99 | 100.75 | 5.506%
48 | Wastewater | Small | yes | no | yes | 4 | 0 | 3 | 1 | yes | 0.6 |  |  | yes | 20 | 7.37 | 1.19 | 23.68 | 23.74%
49 | Wastewater | Small | yes | no | yes | 0 | 0 | 0 | 0 | no |  |  |  | yes | 17 | 2.27 | 0.4 | 20.7 | 9.882%
50 | Wastewater | Small | yes | no | yes | 2 | 0 | 0 | 2 | yes | 1.44 |  |  | yes | 19 | 3.24 | 0.49 | 76.37 | 4.07%
51 | Wastewater | Small | yes | no | yes | 3 | 3 | 0 | 0 | yes | 0.3 |  |  | yes | 20 | 1.3 | 0.23 | 28.31 | 4.39%
52 | Wastewater | Small | yes | no | yes | 3 | 2 | 1 | 0 | no |  |  |  | yes | 20 | 6.64 | 1.07 | 11.43 | 36.75%
53 | Wastewater | Small | yes | no | yes | 6 | 5 | 1 | 0 | yes | 0.5 |  |  | yes | 11 | 1.98 | 0.25 | 28.39 | 6.52%
54 | Wastewater | Small | yes | no | yes | 1 | 1 | 0 | 0 | no |  |  |  | yes | 19 | 1.6 | 0.36 | 22 | 6.78%
55 | Wastewater | Small | yes | no | no |  |  |  |  | yes | 0.83 |  | 3.08 | yes | 15 | 3.55 | 0.69 | 24.74 | 12.55%
56 | Wastewater | Small | yes | no | yes | 4 | 0 | 4 | 0 | no |  |  |  | yes | 20 | 4.72 | 0.72 | 7.26 | 39.4%
57 | Wastewater | Small | yes | no | yes | 1 | 0 | 0 | 1 | no |  |  |  | yes | 20 | 3.52 | 0.62 | 17.75 | 16.55%
58 | Wastewater | Small | yes | no | yes | 2 | 0 | 2 | 0 | yes | 0.78 |  |  | yes | 10 | 6.82 | 1.53 | 34.13 | 16.65%
59 | Wastewater | Small | yes | no | yes | 4 | 4 | 0 | 0 | no |  |  |  | yes | 18 | 6.73 | 0.92 | 86 | 7.258%
60 | Wastewater | Small | yes | no | yes | 3 | 3 | 0 | 0 | no |  |  |  | yes | 16 | 8.95 | 1.79 | 41 | 17.92%
# "yes" |  |  | 39 | 19 | 50 |  |  |  |  | 35 |  |  |  | 69
Average | [5 empty] | 9.46 | 4.2 | 3.3 | 1.96 |  | 1.567 | 5.2752 | 10.2134 |  |  | 11.7594 | 2.2228 | 478.2744
Sum | [5 empty] | 473 | 210 | 165 | 98 |  | 36.0407 | 58.0272 | 61.2806 |  |  | 811.4 | 133.37 | 32522.6622
Plants 1-60 participated in the described project
Plants FM1-FM9 provided additional measurement reports regarding total methane emission
Emission factors
Sum of emission, agricultural plants |  |  |  |  | 633.48 | kg CH4 h-1
Sum of production, agricultural plants |  |  |  |  | 29963.04 | kg CH4 h-1
Emission factor, agricultural plants |  |  |  |  | 2.114%
Sum of emission, wastewater plants |  |  |  |  | 170.4 | kg CH4 h-1
Sum of production, wastewater plants |  |  |  |  | 2559.6222 | kg CH4 h-1
Emission factor, wastewater plants |  |  |  |  | 6.657%
Sum of emission, all plants |  |  |  |  | 803.88 | kg CH4 h-1
Sum of production, all plants |  |  |  |  | 32522.6622 | kg CH4 h-1
Emission factor, all plants |  |  |  |  | 2.472%
(plant #46 is not included due to insufficient information on gas production)