## All data
CWNS ID | Location | Status | Has Biogas? | Utility Name | Facility Name | Influent Flow (MG Per Year) | Imported Electricity (kWh) | Imported Natural Gas - Value | Imported Natural Gas - UNITS | Fuel oil (gal) | Biogas generation - VALUE | Biogas generation UNITS | Electricity generation if specificied - kWh | Notes
| AlbanyNY | Complete | No | City of Albany Department of Water | Water Treatment Plant (Feura Bush) | 7137 | 563000 | 0 | N/A | 0 | 0 | N/A | 0 | Technically for 2015
| AlbanyNY | Complete | No | Albany County Water Purification District | South plant | 7503 | 6684000 | 286000 | therms | 0 | 0 | N/A | 0
| AlbuquerqueNM | Complete | No | Albuquerque Bernalillo County Water Utility Authority | San Juan – Chama Drinking Water Treatment Plant (?) | 14346.64 | Unknown | 0 | N/A | 0 | 0 | N/A | 0
| AlbuquerqueNM | Complete | Yes | Albuquerque Bernalillo County Water Utility Authority | Southside Water Reclamation Plant | 20655.69 | 13181626 | 254450 | MMBTU | 0 | N/A | N/A | 7671726
| AlexandriaVA | Complete | Yes | Alexandria Sewer | Not listed | 12180.388 | 40000944 | 51450.2067 | kcf | 0 | 137991.3782 | kcf
| AmarilloTX | Complete | No | City of Amarillo | River Road WRP | 3148.503 | 11280000 | 0 | N/A | 0 | 0 | N/A | 0 | Includes pump energy
AmarilloTX
| AnchorageAK | Sahar - checked for bioas (none) | No
| ArlingtonTX | Abby - checked | No information
| AugustaGA | Sahar - checked for biogas? | No
| AustinTX | Sahar - checked for biogas | No
| AustinTX | Checked for biogas - Sahar | No
| BakersfieldCA | Sahar - biogas done | Yes | Not listed | Plant 2 - name not listed | 4989.948 |  |  |  |  | 59659000 | CF | 2625292
| BaltimoreMD | Sahar - biogas done | Yes | Baltimore City Department of Public Works | Back River WWTP | 48275.4 |  |  |  |  | 4021242 | kcf
| BeaumontTX | Sahar - checked for biogas | No
| BillingsMT | Sahar - checked for biogas | No data available
| BirminghamAL | Checked by abby | N/A; drinking water plant | Birmingham Water Works Board | Carlson Filter Plant | 4762.725 | 8218947 | 0 | 0 | 0 | 0 | 0 | 0
| BirminghamAL | Checked by abby | N/A; drinking water plant | Birmingham Water Works Board | Putnam Filter Plant | 5480.101 | 7021256 | 0 | 0 | 0 | 0 | 0 | 0
| BirminghamAL | Checked by abby | N/A; drinking water plant | Birmingham Water Works Board | Shades Mountain Filter Plant | 16296.614 | 12458925 | 0 | 0 | 0 | 0 | 0 | 0
| BirminghamAL | Checked by abby | N/A; drinking water plant | Birmingham Water Works Board | Western Filter Plant | 9138.945 | 10218271 | 0 | 0 | 0 | 0 | 0 | 0
| BoiseID | Complete | Yes | City of Boise | West Boise | 5515.83 | 11890154 | 23831 | therms | 0 | 86030950 | scf
| BoiseID | Complete | Yes | City of Boise | Lander St | 4564.37 | 5971692 | 13158 | therms | 0 | 49347000 | scf
| BostonMA | Sahar - checked for biogas | No
| BridgeportCT | Sahar - checked for biogas | No
| BuffaloNY | Sahar - biogas done | Yes | Buffalo Sewer Authority | Not listed | 41314 |  |  |  |  | 174134200 | cf
| BurlingtonVT | Sahar - checked for biogas | No
| CharlestonSC | Complete - Joaquin | No
| CharlestonWV | Checked for biogas - Joaquin | No
| CharlotteNC | Sahar - checked for biogas | No
| CheyenneWY | Complete - Joaquin | No | Cheyenne Board of Public Utilities | Sherard Water Treatment Plant | 3368.3983 | NA | NA | NA | NA | NA | NA | NA
| CheyenneWY | Complete - Joaquin | No | Cheyenne Board of Public Utilities | Crow and Dry Creek Water Treatment | NA | NA | NA | NA | NA | NA | NA | NA
| ChicagoIL | Sahar - biogas done, there are 3 other plants w/o biogas | Yes | Metropolitan Water Reclamation District of Greater Chicago | Hanover | 2921.9 |  |  |  |  | 111328 | therms
| ChicagoIL | Sahar - biogas done, there are 3 other plants w/o biogas | Yes | Metropolitan Water Reclamation District of Greater Chicago | Egan | 8681.8 |  |  |  |  | 457588 | therms
| ChicagoIL | Sahar - biogas done, there are 3 other plants w/o biogas | Yes | Metropolitan Water Reclamation District of Greater Chicago | Stickney | 224980 |  |  |  |  | 1093162 | therms
| CincinnatiOH | Sahar - checked for biogas | No
| ClevelandOH | Sahar - checked for biogas | No
| ColoradoSpringsCO | Sahar - checked for biogas | Yes but treated at a separate facility | Colorado Springs Utilities | JD Phillips plant | 2744.45
| ColoradoSpringsCO | Sahar - checked for biogas | Yes but treated at a separate facility | Colorado Springs Utilities | Las Vegas Street plant | 9313.09
| ColumbiaSC | Complete - Joaquin | No | City of Columbia Water | Columbia Sewage Treatment Plant | 981.72 | NA | NA | NA | NA | NA | NA | NA
| ColumbiaSC | Complete - Joaquin | No | City of Columbia Water |  | 981.72 | NA | NA | NA | NA | NA | NA | NA
| ColumbusOH | Sahar - checked for biogas | No
| ColumbusOH | Complete - Joaquin | No
| CorpusChristiTX | Complete - Joaquin | No
| DallasTX | Sahar - checked for biogas | No
| DaytonOH | Complete - Joaquin | N | [7 empty] | NA | NA
| DenverCO | Complete - Joaquin | Y | Metro Wastewater Reclamation District | R.W. Hite Facility | 45858.0709 |  |  |  |  | 968752.8195 | KCF
| DesMoinesIA | Complete - Joaquin | N
| DetroitMI | Checked for biogas - Sahar | No
| DuluthMN | Complete - Joaquin | Yes | Western Lake Superior Sanitary District | Western Lake Superior Sanitary District Wastewater Treatment Facility | 13070.65 |  |  |  |  | 206329392 | CF
| ElPasoTX | Complete - Joaquin | Yes | El Paso Water Utilities | RBWWTP | 10486.9 |  |  |  |  | 121391220 | cuft
| ElPasoTX | Complete - Joaquin | Yes | El Paso Water Utilities | HSWWTP | 6945.31 |  |  |  |  | 78667674 | cuft
| ElPasoTX | Complete - Joaquin | Yes | El Paso Water Utilities | FHWRP | 2321.32 |  |  |  |  | 29680770 | cuft
| EugeneOR | Complete - Joaquin | Y | Eugene Water & Electric Board | Water Pollution Control Facility | 15202.371 |  |  |  |  | 159260997.6 | cf
| FargoND | Complete - Joaquin | Yes | City of Fargo Water Reclamation | Fargo Regional Wastewater Reclamation Facility | 4388.575 |  |  |  |  | 51331878 | cubic ft
| FortCollinsCO | Complete - Joaquin | No
| FortWayneIN | Complete - Joaquin | No
| FortWorthTX | Complete - Joaquin | Yes | Forth Worth Water Department | Villlage Creek Water Reclamation Facility | 17185.4 |  |  |  |  | 284977.5 | MSCF
| FresnoCA | Complete - Joaquin | No
| GreensboroNC | Complete - Joaquin | No
| GreenvilleSC | In progress - Sahar | yes (has 2 additional facilities without biogas) | Greenville Water | Durbin WWTP | 549.65 |  |  |  |  | 3709528 | cf |  | Note: Greenville SC included additional plants listed as having biogas, but data was exact replication. We include the three sets of unique data
| GreenvilleSC | In progress - Sahar | yes (has 2 additional facilities without biogas) | Greenville Water | Gilder WWTP | 1374.44 |  |  |  |  | 22284115 | cf |  | Note: Greenville SC included additional plants listed as having biogas, but data was exact replication. We include the three sets of unique data
| GreenvilleSC | In progress - Sahar | yes (has 2 additional facilities without biogas) | Greenville Water | Lower Reedy WWTP | 1932.74 |  |  |  |  | 38351800 | cf |  | Note: Greenville SC included additional plants listed as having biogas, but data was exact replication. We include the three sets of unique data
| HarrisburgPA | Complete - Joaquin | No
| HonoluluHI | Complete - Joaquin | Yes | Board of Water Supply | Honouliuli Water Recycling Facility | [5 empty] | 12294363 | Cubic feet
| HoustonTX | Complete- Joaquin | No
| IndianapolisIN | Complete - Joaquin | No
| JacksonMS | Complete- Joaquin | No
| JacksonvilleFL | Complete - Joaquin | No
| KalamazooMI | Complete - Joaquin | No
| KansasCityMO | Complete- Joaquin | No
| KnoxvilleTN | Complete- Joaquin | No
| LakeCharlesLA | Complete- Joaquin | No
| LansingMI | FOIA request denied
| LaredoTX | Checked for biogas - Sahar | No
| LasVegasNV | Complete - Joaquin | Yes | LVVWD | Bonanza/Mojave Water Resource Center | 14426.1 |  |  |  |  | 236718970 | CF
| LincolnNE | Sahar - Complete | Yes | Lincoln Wastewater System | Theresa Street WWTF | 8699.5897 | 4066094 | 94312 | therm |  | 133967709.4 | cf | 5611341 | Data provided for each day of the year; for imported electricity, subtract biogas electricity generated from total
| LincolnNE | Sahar - Complete | Yes | Lincoln Wastewater System | Northeast WWTF | 823.0287 | 5742311.31 | 34496 | therm |  | 6468208.7 | cf | Not sent to electricity - used for boiler or waste | Data provided for each day of the year
| LittleRockAR | In progress - Joaquin - Can't find data in our raw utility data folder | Yes
| LosAngelesCA | Complete - Joaquin | No
| LouisvilleKY | In progress - Joaquin - Talk through this one with Sahar and Abby, it's a mountain of data | Y | Louisville Water Company | Morris Forman WWTP | 38173.98 |  |  |  |  | 415332388.1 | SCF
| LubbockTX | Complete- Joaquin | No
| MadisonWI | Complete - Sahar | Yes | Madison Metropolitan Sewage District | Nine Springs Wastewater Treatment PLant | 13410.743 |  |  |  |  | 331468584.2 | scf
| MadisonWI | Complete- Joaquin | Yes | Madison Metropolitan Sewerage District | Nine Springs Wastewater Treatment Plant | 13420 |  |  |  |  | 331.36 | MMCF
| ManchesterNH | Complete- Joaquin | No
| MemphisTN | Complete - Joaquin | Yes | Memphis Light, Gas, and Water | MC Stiles WWTP | 29126.9 |  |  |  |  | 338700000 | scf
| MemphisTN | Complete - Joaquin | Yes | Memphis Light, Gas, and Water | TE Maxson WWTP | 24848.8 |  |  |  |  | 1085100000 | scf
| MiamiFL | Complete - Joaquin | No
| MilwaukeeWI | Complete - Joaquin | Yes | Milwaukee Metropolitan Sewerage District | South Shore WRF | 57285 |  |  |  |  | 128009 | DTherms |  | Only South Shore performs digestion. Primary sludge from Jones Island is diverted to South Shore for digestion. Influent flow reported here is the combined flow for South Shore and Jones Island.
| MinneapolisMN | Complete - Joaquin | Yes - but we don't have the data on biogas | Metropolitan Council Environmental Services
| NashvilleTN | Complete - Joaquin - Nashville does not separate flow by plants :( | Yes | Metro Water Services | Nashville Central Wastewater Treatment Plant | [5 empty] | 125360687 | Cubic Feet
| NewarkNJ | Checked for biogas - Sahar | No
NewarkNJ
| NewHavenCT | Complete - Joaquin | Data not provided
| NewOrleansLA | Complete - Joaquin | No
| NewYorkNY | Complete - Joaquin | Yes - but not disaggregated by plant
| NorfolkVA | Complete - Joaquin | No
| NorthTexas | In Progress - Joaquin, will come back to this one, absurd number of files, all in pdfs
| OaklandCA | Complete - Joaquin | Yes | East Bay Municipal Utilities District | EBMUD Main WWTP | 25594 |  |  |  |  | 1072223 | Kcu feet
| OgdenUT | Complete- Joaquin | No
| OklahomaCityOK | Complete- Joaquin | No
| OmahaNE | Complete Ana |  | Metropolitan Utilities District | Missouri River | NA | NA | NA | NA | NA | NA | NA | NA
| OmahaNE | Complete - Ana | Yes | Metropolitan Utilities District | Papillion Creek WWTP | 29658.69 | 10795889 | 1.93 | MMCF | NA | 132.875 | MMCF | 6.69 MWh
| PeoriaIL | Complete - Joaquin | Yes | Greater Peoria Sanitary and Sewage Disposal District | Beardsley Water Reclamation Facility | 25594 |  |  |  |  | 100610 | MCF
| PhiladelphiaPA | Complete - Joaquin | No | Philadelphia Water Department | NE WPCP | 2020 |  |  |  |  | 171 | million cf
| PhiladelphiaPA | Complete - Joaquin | No | Philadelphia Water Department | SW WPCP | 1986 |  |  |  |  | 355 | million cf
| PhoenixAZ | Sahar - checked for biogas | No
| PittsburghPA | Sahar - checked for biogas | No
| PortlandME | Sahar - checked for biogas | No
| PortlandOR | Done- Ana | No | Portland Water District | Columbia Boulevard Wastewater Treatment Plant | 36002.7 | 17696397 | NA | NA | NA | NA | NA | NA
| ProvidenceRI | Sahar - checked for biogas | No
| ProvoUT | Sahar - biogas done | Yes |  |  | 4693.95 |  |  |  |  | 47796306 | cf
| RaleighNC | In Progress-Ana |  |  |  | NA | NA | NA | NA | NA | NA | NA | NA
| RenoNV | In Progress - Joaquin | Yes | Public Works Department | TMWRF | 9780.04 |  |  |  |  | 260120703.4 | SCF
| SacramentoCA | Biogas done - Sahar | Yes |  | Sacramento Regional Wastewater Treatment Plant | 52532.4 |  |  |  |  | 2000 | scfm | Energy content: 610 BTU/scf
| SalemOR | Checked for biogas - Sahar | No
| SaltLakeCityUT | Done - Sahar | Yes | Salt Lake City Corporation | Salt Lake City Water Reclamation Plant | 11125.17 |  |  |  |  | 109251549 | scf
| SanAntonioTX | Done - Ana (Does not break down biogas by facility) | Yes
| SanDiegoCA | Done Ana | Yes | San Diego Public Utilities | Point Loma Wastewater Treatment Plant | 53795.15 | NA | NA | NA | NA | 230512.4 | 1 KCF | NA
| SanDiegoCa |  | No | San Diego Public Utilities | North City Water reclamation Plant | 6013.5376 | NA | NA | NA | NA | NA | NA | NA
| SanDiegoCa |  | No | San Diego Public Utilities | South Bay Water Reclamation Plant | 2933.12 | NA | NA | NA | NA | NA | NA | NA
| SanFranciscoCA | Complete - Joaquin | N | SFPUC
| SanJoseCA | Complete - Joaquin | Y | San Jose water co | could not find | 39234.04 |  |  |  |  | 39234.04 | therm | 37014310
| SantaFeNM | Complete- Joaquin | Yes | Wastewater Management Division | Santa Fe Wastewater Treatment Plant | 2114.1046 |  |  |  |  | 22684790 | SCF
| SavannahGA | Complete- Joaquin | No
| SeattleWA | Complete - Joaquin | Y | Seattle Public Utilities | West Point Treatment Plant | 37403.85 | NA | NA | NA | NA | 525983532 | cu ft
| SiouxFallsSD | Complete - Joaquin |  | Sioux Falls Water Division | Water Purification Plant | 7189.4 | 8800000 | NA | NA | NA | NA | NA | NA | Pumping electricity and flow data reported separately for this plant
| SpokaneWA | Complete - Joaquin |  | City of Spokane Water Department | Riverside Park Water Reclamation Facility | 12352.05 | 16688342.82 | 93343 | therm |  | 1377065.72 | therm
| SpringfieldMA | Checked for biogas - Sahar | No
SpringfieldMA
| St.PaulMN | Complete - Ana |  |  |  | NA | NA | NA | NA | NA | NA | NA | NA
| StLouisMO | Complete - Joaquin | No
| SyracuseNY | Complete - Joaquin | Yes | Onondaga County Water Environment Protection | Metro WWTP | 20935.6 |  |  |  |  | 198866597 | CFD
| SyracuseNY | Complete - Joaquin | Yes | Onondaga County Water Environment Protection | Wetzel Road WWTP | 864.41 |  |  |  |  | 12270048 | scf |  | From utility: 'Only two (2) County facilities have anaerobic digestion, Metro and Wetzel Road. The digesters at Wetzel Road came on-line (start-up) in the fall of 2012. Since the gas production value is unavailable for 2012,we're providing the 2013 calculated monthly average of 1,022,504 scf per month.'
| TacomaWA | Complete - Joaquin | Yes - but biogas and flow data is not disaggregated by plant
| TallahasseeFL | Sahar - Complete |  | Wastewater - Not specified | Not specified - wastewater plant | 5903.595 | 20505600 | 29339600 | cf | NA | NA | NA |  | Natural gas units reported in CCF and converted to CF
| TallahasseeFL | Sahar - Complete |  | Water | Not Specified - water plant | 9942.33 |  |  |  | NA | NA | NA |  | Flow units not specified - assumed to be MG
| TampaFL | Sahar - Complete but concers re: electricity total vs imported |  | The City of Tampa's Wastewater Department | Not specified - looked up and found Howard F. Curren Advanced Wastewater Treatment Plant (AWTP) | 21818 | 55471081 | NA | NA | NA | 222437605 | CF |  | Electricity data not specified if imported or total; facility appears to have cogen capacities
| TampaFL | Sahar - Complete |  | Water | Not specified - water plant | 27267.734 | 33449426 | NA | NA | NA | NA | NA | NA
| ToledoOH | Sahar - Complete | yes | Not specified | Toledo Bay View | 1247.2 | 33163913 | Not available | NA | NA | 73200000 | CF | 1013708.59 | Electricity produced is sum of total production, scaled according to the ratio of biogas and landfill gas. Units are in kWh. Biogas assumption is 200,000 cf / day
| TucsonAZ | Sahar - complete |  | Pima County Regional Wastewater Reclamation Department | Tres Rios | 8220.6 | 14105711 | 1493892 | Therms |  | 45950 | MMBTU |  | Note that digester gas is consumed for power & heat, no indication how much is flared
| TucsonAZ | Sahar - complete |  | Pima County Regional Wastewater Reclamation Department | Roger Road | 12110.7 | 7612267 | 722283 | Therms |  | 8346660.7 | MMBTU |  | Note that digester gas is consumed for power & heat, no indication how much is flared
| TucsonAZ | Sahar - complete |  | Pima County Regional Wastewater Reclamation Department | Aqua Nueva | NA | [7 empty] | No data provided
| TucsonAZ | Sahar - Complete |  | Tucson Water | Potable water plant | 35086.62 | 106392428 | 4635443 | Therm | NA | NA | NA | NA | Data also available for water reclamation plant, data here is for potable drinking water plant which only does chlorination and pH control
| TulsaOK | Done - Joaquin |  | Tulsa Department of Water and Sewer | Southside WWTP | 7774.01 | NA | NA | NA | NA | NA | NA | NA | City of Tulsa only reports electricity use as a whole utility, not disaggregated by facility
| TulsaOK | Done - Joaquin |  | Tulsa Department of Water and Sewer | Haikey Creek WWTP | 3550.067 | NA | NA | NA | NA | NA | NA | NA | City of Tulsa only reports electricity use as a whole utility, not disaggregated by facility
| TulsaOK | Done - Joaquin |  | Tulsa Department of Water and Sewer | Northside WWTP | 7772.39 | NA | NA | NA | NA | NA | NA | NA | City of Tulsa only reports electricity use as a whole utility, not disaggregated by facility
| TulsaOK | Done - Joaquin |  | Tulsa Department of Water and Sewer | Lower Bird WWTP | 297.8991 | NA | NA | NA | NA | NA | NA | NA | City of Tulsa only reports electricity use as a whole utility, not disaggregated by facility
| WashingtonDC | Sahar - Complete |  | Washington Aqueduct Corp of Engineers | NA | NA | NA | NA | NA | NA | NA | NA | NA | Not broken down by individual facility
| WichitaKS | Sahar - Pausing because this one sucks | yes
| WorcesterMA | Done - Joaquin |  | Worcester Water & Sewer Operations | Drinking Water Treatment Plant | 8384.176 | 2608421 | NA | NA | NA | NA | NA | NA

## Biogas Data
location | utility_name | facility_name | influent_2012_MG | facility_size_MGD | biogas_gen_value | biogas_gen_units | biogas_2012_scf | biogas_to_flow_ratio | electricity_kwh | data_notes | analysis_notes
AlbuquerqueNM | Albuquerque Bernalillo County Water Utility Authority | Southside Water Reclamation Plant | 20655.69 | 56.4363 | N/A | N/A |  |  | 7671726 |  | Remove for now - conversion from electricity to biogas will require assumptions about engine performance
AlexandriaVA | Alexandria Sewer | Not listed | 12180.388 | 33.2797 | 137991.3782 | MSCF | 137991378.2 | 11328.9805
BakersfieldCA | Not listed | Plant 2 - name not listed | 4989.948 | 13.6337 | 59659000 | scf | 59659000 | 11955.836 | 2625292
BaltimoreMD | Baltimore City Department of Public Works | Back River WWTP | 48275.4 | 131.9 | 4021242 | MSCF | 4021242000 | 83297.953
BoiseID | City of Boise | West Boise | 5515.83 | 15.0706 | 86030950 | scf | 86030950 | 15597.0996
BoiseID | City of Boise | Lander St | 4564.37 | 12.471 | 49347000 | scf | 49347000 | 10811.3496
BuffaloNY | Buffalo Sewer Authority | Not listed | 41314 | 112.8798 | 174134200 | scf | 174134200 | 4214.8957
ChicagoIL | Metropolitan Water Reclamation District of Greater Chicago | Hanover | 2921.9 | 7.9833 | 111328 | therms | 18554666.6667 | 6350.2059
ChicagoIL | Metropolitan Water Reclamation District of Greater Chicago | Egan | 8681.8 | 23.7208 | 457588 | therms | 76264666.6667 | 8784.4303
ChicagoIL | Metropolitan Water Reclamation District of Greater Chicago | Stickney | 224980 | 614.6995 | 1093162 | therms | 182193666.6667 | 809.8216
DenverCO | Metro Wastewater Reclamation District | R.W. Hite Facility | 45980.6015 | 125.6301 | 968752.8195 | KCF | 968752819.459 | 21068.7287 |  |  | Sahar corrected original spreadsheet due to some entries not copying over as numeric during PDF conversion. Numbers still implausibly high
DuluthMN | Western Lake Superior Sanitary District | Western Lake Superior Sanitary District Wastewater Treatment Facility | 13070.65 | 35.7122 | 206329392 | scf | 206329392 | 15785.7025
ElPasoTX | El Paso Water Utilities | RBWWTP | 10486.9 | 28.6527 | 121391220 | scf | 121391220 | 11575.5104
ElPasoTX | El Paso Water Utilities | HSWWTP | 6945.31 | 18.9763 | 78667674 | scf | 78667674 | 11326.7333
ElPasoTX | El Paso Water Utilities | FHWRP | 2321.32 | 6.3424 | 29680770 | scf | 29680770 | 12786.1605
EugeneOR | Eugene Water & Electric Board | Water Pollution Control Facility | 15202.371 | 41.5365 | 159260997.6 | scf | 159260997.6 | 10476.0631
FargoND | City of Fargo Water Reclamation | Fargo Regional Wastewater Reclamation Facility | 4388.575 | 11.9906 | 51331878 | scf | 51331878 | 11696.7075
FortWorthTX | Forth Worth Water Department | Villlage Creek Water Reclamation Facility | 17185.4 | 46.9546 | 284977.5 | MSCF | 284977500 | 16582.5352
GreenvilleSC | Greenville Water | Durbin WWTP | 549.65 | 1.5018 | 3709528 | scf | 3709528 | 6748.8911 |  | Note: Greenville SC included additional plants listed as having biogas, but data was exact replication. We include the three sets of unique data
GreenvilleSC | Greenville Water | Gilder WWTP | 1374.44 | 3.7553 | 22284115 | scf | 22284115 | 16213.2323 |  | Note: Greenville SC included additional plants listed as having biogas, but data was exact replication. We include the three sets of unique data
GreenvilleSC | Greenville Water | Lower Reedy WWTP | 1932.74 | 5.2807 | 38351800 | scf | 38351800 | 19843.2277 |  | Note: Greenville SC included additional plants listed as having biogas, but data was exact replication. We include the three sets of unique data
HonoluluHI | Board of Water Supply | Honouliuli Water Recycling Facility |  | 0 | 12294363 | scf | NA |  |  | No flow data
LasVegasNV | LVVWD | Bonanza/Mojave Water Resource Center | 14426.1 | 39.4156 | 236718970 | scf | 236718970 | 16409.0759
LincolnNE | Lincoln Wastewater System | Theresa Street WWTF | 8699.5897 | 23.7694 | 133967709.4 | scf | 133967709.4 | 15399.3135 | 5611341 | Data provided for each day of the year; for imported electricity, subtract biogas electricity generated from total
LincolnNE | Lincoln Wastewater System | Northeast WWTF | 823.0287 | 2.2487 | 6468208.7 | scf | 6468208.7 | 7859.0315 | Not sent to electricity - used for boiler or waste | Data provided for each day of the year
LouisvilleKY | Louisville Water Company | Morris Forman WWTP | 38173.98 | 104.3005 | 415332388.1 | scf | 415332388.1 | 10879.9865
MadisonWI | Madison Metropolitan Sewage District | Nine Springs Wastewater Treatment PLant | 13410.743 | 36.6414 | 331468584.2 | scf | 331468584.2 | 24716.6458
MadisonWI | Madison Metropolitan Sewerage District | Nine Springs Wastewater Treatment Plant | 13420 | 36.6667 | 331.36 | MMSCF | 331360000 | 24691.5052
MemphisTN | Memphis Light, Gas, and Water | MC Stiles WWTP | 29126.9 | 79.5817 | 338700000 | scf | 338700000 | 11628.426
MemphisTN | Memphis Light, Gas, and Water | TE Maxson WWTP | 24848.8 | 67.8929 | 1085100000 | scf | 1085100000 | 43668.1047
MilwaukeeWI | Milwaukee Metropolitan Sewerage District | South Shore WRF | 57285 | 156.5164 | 128009 | DTherms | 213348333.3333 | 3724.3316 |  | Only South Shore performs digestion. Primary sludge from Jones Island is diverted to South Shore for digestion. Influent flow reported here is the combined flow for South Shore and Jones Island.
NashvilleTN | Metro Water Services | Nashville Central Wastewater Treatment Plant |  | 0 | 125360687 | scf | NA |  |  | No flow data
OaklandCA | East Bay Municipal Utilities District | EBMUD Main WWTP | 25594 | 69.929 | 1072223 | MSCF | 1072223000 | 41893.5297 |  | Note: flow seems low
OmahaNE | Metropolitan Utilities District | Papillion Creek WWTP | 29658.69 | 81.0347 | 132.875 | MMSCF | 132875000 | 4480.1372 | 6.69 MWh
PeoriaIL | Greater Peoria Sanitary and Sewage Disposal District | Beardsley Water Reclamation Facility | 25594 | 69.929 | 100610 | MSCF | 100610000 | 3930.9995
ProvoUT |  |  | 4693.95 | 12.825 | 47796306 | scf | 47796306 | 10182.5341
RenoNV | Public Works Department | TMWRF | 9780.04 | 26.7214 | 260120703.4 | scf | 260120703.4 | 26597.1002
SacramentoCA |  | Sacramento Regional Wastewater Treatment Plant | 52532.4 | 143.5311 | 2000 | scfm | 1054080000 | 20065.3311 | Energy content: 610 BTU/scf
SaltLakeCityUT | Salt Lake City Corporation | Salt Lake City Water Reclamation Plant | 11125.17 | 30.3966 | 109251549 | scf | 109251549 | 9820.2139
SanDiegoCA | San Diego Public Utilities | Point Loma Wastewater Treatment Plant | 53795.15 | 146.9813 | 230512.4 | MSCF | 230512400 | 4285.0034 | NA
SanJoseCA | San Jose water co | could not find | 39234.04 | 107.1968 | 3091256 | therm | 515209333.3333 | 13131.6921 | 37014310
SantaFeNM | Wastewater Management Division | Santa Fe Wastewater Treatment Plant | 2114.1046 | 5.7762 | 22684790 | scf | 22684790 | 10730.2117
SeattleWA | Seattle Public Utilities | West Point Treatment Plant | 37403.85 | 102.1963 | 525983532 | scf | 525983532 | 14062.2832
SpokaneWA | City of Spokane Water Department | Riverside Park Water Reclamation Facility | 12352.05 | 33.7488 | 1377065.72 | therm | 229510953.3333 | 18580.7986
SyracuseNY | Onondaga County Water Environment Protection | Metro WWTP | 20935.6 | 57.2011 | 198866597 | scf | 198866597 | 9498.9681
SyracuseNY | Onondaga County Water Environment Protection | Wetzel Road WWTP | 864.41 | 2.3618 | 12270048 | scf | 12270048 | 14194.7085 |  | From utility: 'Only two (2) County facilities have anaerobic digestion, Metro and Wetzel Road. The digesters at Wetzel Road came on-line (start-up) in the fall of 2012. Since the gas production value is unavailable for 2012,we're providing the 2013 calculated monthly average of 1,022,504 scf per month.'
TampaFL | The City of Tampa's Wastewater Department | Not specified - looked up and found Howard F. Curren Advanced Wastewater Treatment Plant (AWTP) | 21818 | 59.612 | 222437605 | scf | 222437605 | 10195.1419 |  | Electricity data not specified if imported or total; facility appears to have cogen capacities
ToledoOH | Not specified | Toledo Bay View | 1247.2 | 3.4077 | 73200000 | scf | 73200000 | 58691.4689 | 1013708.59 | Electricity produced is sum of total production, scaled according to the ratio of biogas and landfill gas. Units are in kWh. Biogas assumption is 200,000 cf / day
TucsonAZ | Pima County Regional Wastewater Reclamation Department | Tres Rios | 8220.6 | 22.4607 | 45950 | MMBTU | 76583333.3333 | 9316.0272 |  | Note that digester gas is consumed for power & heat, no indication how much is flared
TucsonAZ | Pima County Regional Wastewater Reclamation Department | Roger Road | 12110.7 | 33.0893 | 12110.7 | MMBTU | 20184500 | 1666.6667 |  | Note that digester gas is consumed for power & heat, no indication how much is flared

## Biogas Col Key
location | Name of city with state abbreviation
utility_name | Name of utility
facility_name | Name of facility
influent_2012_MG | Total flow in MG from 2012
biogas_gen_value | Biogas generated in 2012, in units reported by facility
biogas_gen_units | Units reported by facility
biogas_2012_scf | Calculated biogas production for 2012 in SCF
electricity_kwh | Electricity produced from biogas, if provided
data_notes | Notes from data extraction
analysis_notes | Sahar's notes while conducting analysis

## Unit conversions
value | original_units | calculated_value | new_units | multiplier | assumptions | Constants
1 | therm | 166.6667 | scf | 166.6667 |  | Fraction CH4 in Biogas | 0.6
1 | scfm | 527040 | scf in 1 year | 527040 |  | CH4 heating value | 100 | scf per therm
1 | MMBTu | 1666.6667 | scf | 1666.6667 |  | MMBtu per therm | 0.1

## Plotting
location | facility_size_MGD | biogas_2012_scf | biogas_to_flow_ratio | location | facility_size_MGD | biogas_2012_scf | biogas_to_flow_ratio
AlbuquerqueNM | 56.4363 |  |  | AlbuquerqueNM | 56.4363
AlexandriaVA | 33.2797 | 137991378.2 | 11328.9805 | AlexandriaVA | 33.2797 | 137991378.2 | 11328.9805
BakersfieldCA | 13.6337 | 59659000 | 11955.836 | BakersfieldCA | 13.6337 | 59659000 | 11955.836
BaltimoreMD | 131.9 | 4021242000 | 83297.953 | BaltimoreMD |  |  | 83297.953
BoiseID | 15.0706 | 86030950 | 15597.0996 | BoiseID | 15.0706 | 86030950 | 15597.0996
BoiseID | 12.471 | 49347000 | 10811.3496 | BoiseID | 12.471 | 49347000 | 10811.3496
BuffaloNY | 112.8798 | 174134200 | 4214.8957 | BuffaloNY | 112.8798 | 174134200 | 4214.8957
ChicagoIL | 7.9833 | 18554666.6667 | 6350.2059 | ChicagoIL | 7.9833 | 18554666.6667 | 6350.2059
ChicagoIL | 23.7208 | 76264666.6667 | 8784.4303 | ChicagoIL | 23.7208 | 76264666.6667 | 8784.4303
ChicagoIL | 614.6995 | 182193666.6667 | 809.8216 | ChicagoIL |  |  | 809.8216
DenverCO | 125.6301 | 968752819.459 | 21068.7287 | DenverCO | 125.6301 | 968752819.459 | 21068.7287
DuluthMN | 35.7122 | 206329392 | 15785.7025 | DuluthMN | 35.7122 | 206329392 | 15785.7025
ElPasoTX | 28.6527 | 121391220 | 11575.5104 | ElPasoTX | 28.6527 | 121391220 | 11575.5104
ElPasoTX | 18.9763 | 78667674 | 11326.7333 | ElPasoTX | 18.9763 | 78667674 | 11326.7333
ElPasoTX | 6.3424 | 29680770 | 12786.1605 | ElPasoTX | 6.3424 | 29680770 | 12786.1605
EugeneOR | 41.5365 | 159260997.6 | 10476.0631 | EugeneOR | 41.5365 | 159260997.6 | 10476.0631
FargoND | 11.9906 | 51331878 | 11696.7075 | FargoND | 11.9906 | 51331878 | 11696.7075
FortWorthTX | 46.9546 | 284977500 | 16582.5352 | FortWorthTX | 46.9546 | 284977500 | 16582.5352
GreenvilleSC | 1.5018 | 3709528 | 6748.8911 | GreenvilleSC | 1.5018 | 3709528 | 6748.8911
GreenvilleSC | 3.7553 | 22284115 | 16213.2323 | GreenvilleSC | 3.7553 | 22284115 | 16213.2323
GreenvilleSC | 5.2807 | 38351800 | 19843.2277 | GreenvilleSC | 5.2807 | 38351800 | 19843.2277
LasVegasNV | 39.4156 | 236718970 | 16409.0759 | LasVegasNV | 39.4156 | 236718970 | 16409.0759
LincolnNE | 23.7694 | 133967709.4 | 15399.3135 | LincolnNE | 23.7694 | 133967709.4 | 15399.3135
LincolnNE | 2.2487 | 6468208.7 | 7859.0315 | LincolnNE | 2.2487 | 6468208.7 | 7859.0315
LouisvilleKY | 104.3005 | 415332388.1 | 10879.9865 | LouisvilleKY | 104.3005 | 415332388.1 | 10879.9865
MadisonWI | 36.6414 | 331468584.2 | 24716.6458 | MadisonWI | 36.6414 | 331468584.2 | 24716.6458
MadisonWI | 36.6667 | 331360000 | 24691.5052 | MadisonWI | 36.6667 | 331360000 | 24691.5052
MemphisTN | 79.5817 | 338700000 | 11628.426 | MemphisTN | 79.5817 | 338700000 | 11628.426
MemphisTN | 67.8929 | 1085100000 | 43668.1047 | MemphisTN |  |  | 43668.1047
MilwaukeeWI | 156.5164 | 213348333.3333 | 3724.3316 | MilwaukeeWI |  |  | 3724.3316
OaklandCA | 69.929 | 1072223000 | 41893.5297 | OaklandCA |  |  | 41893.5297
OmahaNE | 81.0347 | 132875000 | 4480.1372 | OmahaNE | 81.0347 | 132875000 | 4480.1372
PeoriaIL | 69.929 | 100610000 | 3930.9995 | PeoriaIL | 69.929 | 100610000 | 3930.9995
ProvoUT | 12.825 | 47796306 | 10182.5341 | ProvoUT | 12.825 | 47796306 | 10182.5341
RenoNV | 26.7214 | 260120703.4 | 26597.1002 | RenoNV | 26.7214 | 260120703.4 | 26597.1002
SacramentoCA | 143.5311 | 1054080000 | 20065.3311 | SacramentoCA | 143.5311 | 1054080000 | 20065.3311
SaltLakeCityUT | 30.3966 | 109251549 | 9820.2139 | SaltLakeCityUT | 30.3966 | 109251549 | 9820.2139
SanDiegoCA | 146.9813 | 230512400 | 4285.0034 | SanDiegoCA | 146.9813 | 230512400 | 4285.0034
SanJoseCA | 107.1968 | 515209333.3333 | 13131.6921 | SanJoseCA | 107.1968 | 515209333.3333 | 13131.6921
SantaFeNM | 5.7762 | 22684790 | 10730.2117 | SantaFeNM | 5.7762 | 22684790 | 10730.2117
SeattleWA | 102.1963 | 525983532 | 14062.2832 | SeattleWA | 102.1963 | 525983532 | 14062.2832
SpokaneWA | 33.7488 | 229510953.3333 | 18580.7986 | SpokaneWA | 33.7488 | 229510953.3333 | 18580.7986
SyracuseNY | 57.2011 | 198866597 | 9498.9681 | SyracuseNY | 57.2011 | 198866597 | 9498.9681
SyracuseNY | 2.3618 | 12270048 | 14194.7085 | SyracuseNY | 2.3618 | 12270048 | 14194.7085
TampaFL | 59.612 | 222437605 | 10195.1419 | TampaFL | 59.612 | 222437605 | 10195.1419
ToledoOH | 3.4077 | 73200000 | 58691.4689 | ToledoOH |  |  | 58691.4689
TucsonAZ | 22.4607 | 76583333.3333 | 9316.0272 | TucsonAZ | 22.4607 | 76583333.3333 | 9316.0272
TucsonAZ | 33.0893 | 20184500 | 1666.6667 | TucsonAZ | 33.0893 | 20184500 | 1666.6667